## Slide 1: June 14th Meeting

## Slide 2: Overview
Overall, looking good with other sensors (CHWFLO, CHkW, CHCHWRT, CHCHWST)
SVM without LASSO overfits
Revised error at alphas to reflect SVM error (instead of LASSO error)
Open question of how to avoid building “too good” of a model
  One solution is to limit the number of features allowed (8?)
Incorporated retraining model to simulate real-time use

## Slide 3: SVM without LASSO overfits

## Slide 4: SVM with LASSO

## Slide 5: With LASSO – difficult to identify best alpha

## Slide 6: Alpha selection based on SVM error
Integrated errors from SVM (instead of LASSO’s linear function)
Error is now based on the validation set (before it was a 20/80 test train split in the training set)
Much slower- at each alpha (30 total alphas):
  Performs lasso to get features
  Feeds those features into SVM, builds + gets error
  Repeats 20 times (same features, new SVM model, new error)
  takes the average of those 20 SVM models for each alpha to get the mean absolute error

## Slide 7: CH1CDWFLO – SVM error reported

## Slide 8: CH2CDWFLO – SVM error reported

## Slide 9: CH1CHWRT – SVM error reported

## Slide 10: CH2CHWRT – SVM error reported

## Slide 11: CH1CHWST – SVM error reported

## Slide 12: CH2CHWST – SVM error reported

## Slide 13: CH1kW – SVM error reported

## Slide 14: CH2kW – SVM error reported

## Slide 15: Initial Attempt on Plant 2 – CH1kW

## Slide 16: Initial Attempt on Plant 3

## Slide 17: Next steps
Poster presentation next week
Optimize the code
Package code nicely

## Slide 18: Example of Limiting Number of Allowed Features